|  | FLINT HILL FIRE DEPARTMENT STANDARD OPERATING GUIDELINE |
| --- | --- |

Guideline Number:  410.16

Guideline Title:   Power Lines Down

Adopted:   10/1/2013

Rescinds:  New

Approved By:   							 (Chief)

- PURPOSE:

To define consistent guidelines and responsibilities for firefighters to safely, efficiently and quickly control incidents involving down power lines.

- DISCUSSION:

This guideline will establish a standard approach and response to the report of power lines down. Power lines can come in contact with the ground as a result of storm related activity, fire, mechanical failure or vehicles striking power poles. In all cases, the potential for electrical shock/electrocution and secondary fire must be considered

- GUIDELINE:

The following guideline is in the recommended order of implementation, reflecting the relative priorities on a power lines down scene.

- The appropriate apparatus shall respond to the location quickly with due regard for the safety of others. Refer to SOG 400.04 APPARATUS RESPONSE.

- Incident Command shall be implemented following SOG 402.01 INCIDENT COMMAND.

- All personnel must don proper Personal Protective Equipment. Minimum PPE shall be helmet, bunker pants and fire boots for all personnel on scene. For personnel securing the scene appropriate vests and/or turnout gear should be used when operating on or near roadways.

- IC should verify with FireCom the appropriate utility company has been notified.

- Locate both ends of downed wires and establish an exclusion zone. A minimum safe distance for the exclusion zone is 1.5 times the width from pole to pole.

- Place apparatus a safe distance away from down lines and power poles.

- Secure the area and deny entry to anyone except power company representatives.

  - Consider all avenues of access and secure them all.

  - Use scene tape, firefighters, apparatus, etc. to clearly establish the exclusion zone.

  - The IC may need to call for additional resources for large exclusion zones.

- Fire department should maintain the exclusion zone until IC is notified by power company representatives the scene is safe.

- Once the scene is safe the IC should determine if fire department resources are still needed. If not the fire department can turn over scene control to the appropriate utility company representative and clear the scene.

Strategic Considerations

- Consider all down wires as energized.

- Electricity always seeks its lowest level or ground. It will travel any path it can as it seeks a ground.

  - A direct path to ground is when contact is made between something energized and a portion of your body such as your hand, arm, head, or other body part.

  - An indirect path to ground happens when you are holding something or touching an object that is in contact with something energized. This could include tools or other equipment you may be holding or when touching a fence, vehicle, or other object that may be in contact with something energized.

- Gradient Voltage (Step and Touch Potential)

  - When power lines are down they will energize the ground around them.

  - Voltage will lessen as it radiates out in a circle from the point of contact.

  - For example:

    - At the point of ground contact voltage could be 700 volts.

    - At 20 ft away it could be 400 volts.

    - If your feet are in two areas where there is a voltage difference, you could complete the circuit and be the source to ground.

  - This is called “step potential”. This danger could be indicated by a tingling sensation in the feet and serve as a warning to back away from the area.

Tactical Considerations

- Lock out of down power lines generally occurs after three (3) operations or attempts to re-energize. Even though you may hear this, do not assume the line is dead or de-energized. Downed lines must always be considered energized with potentially lethal current.

- Lines can reset and become energized (“hot”) again by manual operation of a switch, by automatic re-closing methods (either method from short or long distances away), by induction where a de-energized line can become hot if it’s near an energized line, or through a back feed condition.

- Power line tends to have “Reel Memory” and may curl back or roll on itself when down.

- Use caution when spraying water on or around energized electrical equipment. Hose streams conduct current. Never spray directly into the power lines. Use a fog spray at the base of the pole. Your primary responsibility is to protect the surrounding area.

- If a vehicle is involved:

  - Do not touch vehicle

  - Have occupants remain inside the vehicle

  - Place apparatus a safe distance away from down lines

  - If occupants must leave the vehicle (fire or other threat to life) instruct them to open the door, not step out. They should jump free of the vehicle without touching vehicle and ground at the same time.

- If a substation, vault or manhole is involved:

  - Clear and secure the area around the hazard based on the size of the service involved. Larger services require greater exclusion distances. Recommended distance for a substation is a minimum of 300 ft.

  - Remain in apparatus and wait for power company representatives to arrive.

  - Be aware of explosion potential.

  - Place apparatus in a safe location away from overhead power lines that may become involved.

  - Do not make entry until electrical equipment has been de-energized and grounded by the utility company and they indicate the scene is safe.